ROI manager
User Guide

# Description and main features
This App allows to create, save and load ROI objects into Axes or UIAxes. ROI objects belong to a parent Axes or UIAxes, that is stored in the ‘Parent’ property, and can be assigned to a new Axes or UIAxes by assigning the new Axes/UIAxes to its ‘Parent’ property. This App allows to perform measures on the image stored in the parent Axes/UIAxes; to do so, you can select the desired metrics from the ‘Set Measures’ tab, and then visualize the results in the table contained in the ‘Measure’ tab. Moreover, it is possible to plot the z-axis profile of 3-dimensional stacks or time series. Since a matrix with 3 or more dimensions cannot be plotted into an Axes/UIAxes object, a pointer to this ‘source stack’ has to be created and stored in the ‘UserData’ property of the ROI parent Axes/UIAxes (see below).

# Main variables
A brief description of the app main properties and useful variables follows:
## ROIs
Roi objects of the class images.roi interactively created by the user. Up to now, the only available shapes are: rectangle, ellipse, polygon, freehand. We distinguish between the newly created ROI, also called ‘temporary ROI’, and stored ROIs.
- app.newROI. Roi object created inside the drawROI function called by pressing a button belonging to the ‘ROI shape’ panel. Can be discarded or stored into app.storedROI.
- app.temporaryListeners. Array of listeners (see below) associated to app.newROI, created inside the drawROI funtion.
- app.storedROI. Array of structures with fields ‘roi’, ‘class’, ‘position’ and ‘listeners’; the n-th element is a structure relative to the n-th stored ROI.
  - roi. ROI object itself.
  - class. The ROI class (up to now: rectangle, ellipse, polygon of freehand).
  - position. A structure whose fields depends on class ( rectangle → ‘Position’ and ‘RotationAngle’; ellypse → ‘Center’, ‘RotationAngle’ and ‘SemiAxes’; polygon → ‘Position’; freehand → ‘Closed’, ‘Position’).
  - listeners. An array of 2 listeners (see below).
  ‘class’ and ‘position’ fields act a sort of backup: a ROI can be deleted by external processed (e.g. whenever its parent axes is cleared with the command cla). However, if its class and a list of “useful properties” are available, it is possible to re-draw the ROI programmatically. This strategy is used to prevent ROIs from beeing lost when their parent axes is cleared, as well as for saving and loading a set of ROIs without the need to save any object at all (which is not recommended).
## Listeners
A set of 2 listeners is associated to every ROI and saved in a 2-element array (either the property app.temporaryListeners for app.newROI, or the field ‘listeners’ of app.storedROI structure for stored ROIs). The 1st element is a ‘MovingROI’ listener to dynamically update the z-axis profile when the selected ROI is moved or reshaped. The 2nd element is a ‘DeletingROI’ listener which calls the roiDeleting function. There is also a listener to the ‘UserData’ property of the currently selected axes and it is stored in app.sourceListener. Since axes ‘UserData’ property must store the source image stack (see below), this callback dynamically refreshes the source stack whenever it changes.
# ROI creation
ROIs are created with the function drawROI, that is called from the callbacks of the buttons belonging to the “ROI shape” panel.

## Target axes
The first step for creating a ROI is to choose a target axes, and it depends on the selected option in the “Target Axes” panel.
- If “Parent figure” round button is selected, then the target axes is the axes selected with the axesDropDown graphic element (for more details on the available axes, see below).
- If “Free mode” is selected More details coming soon...

## Creation of listeners
Right after a ROI is drawn, is it stored in the property “newROI” and three listeners are created and assigned to the UserData property of newROI, so that UserData becomes an array of listeners.
1. newROI.UserData(1) is a listener to the property ‘Position’ of the roi itself. When Position changes (i.e. when the ROI is moved/reshaped) the function zProfile(app,src,ev) is called, to dynamically update the z-profile. The argument src is the ROI object itself, while ev is the event that triggered the listener (i.e. the reshaping/moving action).
2. newROI.UserData(2) is a listener to the event ‘DeletingROI’. When a user interactively deletes a ROI, the function roiDeleting(app,src,ev) is called.
3. newROI.UserData(3) is a listener to the property ‘UserData’ of the ROI parent Axes. When UserData propertyof the axes is changed (i.e. the data source for the z-profile), then the function refreshSource(app,tmp) is called, to update the z-profile. The argument tmp is the ROI object itself.

## Newly created ROIs
A newly created ROI is saved in the newROI property of the app and automatically selected. You can discard it, or store it by appending it to the storedROI property (an array of ROI objects). If you draw a new ROI, you overwrite the property newROI so that unsaved temporary ROIs are lost.

## Save and load ROIs
Stored ROIs can be saved, and saved ROIs can be loaded.
### Save ROIs
To save the selected ROIs just press the button with the ‘save’ icon and select a destination folder and file name. The saved .mat file will contain a copy of two fields of app.storedROIs: class and posizion. They are sufficient to re-draw the ROIs programmatically.. It will also contain the field name.
### Load ROIs
To load saved ROIs just press the button with the ‘load’ icon and select the appropriate .mat file. ROIs are re-built with the following steps:
1. Append the loaded ROIs to the app.sotredROIs structure, assigning empty placeholders to the fields roi and listeners.
2. Append the loaded ROIs names to the listbox.
3. Call the function refreshROI(app) to draw the ROI objects into the selected axes and to create their listeners.

# Refresh axes list
The search of available axes starts from the app stored in app.parentApp. But it also explore all its ancestors/descendants (i.e. all the apps whose handle is stored as a property). The function lookForAxes does all the job. More details coming soon...
# Z-axes profiles
Z-axes profiles of 3D or 4D stacks/time-series can be computed and plotted by the function zProfile(app,ROI,ev). ROI and ev are optional arguments (see below).
## Source matrix
The multi-dimensional stack of which the z-axis profile will be calculated has to be stored in the ‘UserData’ property of the ROI parent axes. ‘UserData’ must contain a structure named ‘pointers’ with fields ‘data’ and ‘x’. Data must contain a pointer to a multi-dimensional source matrix, while x must contain a pointer to a vector of values of the z-axis (i.e. times for a movie, depths for a 3D stack…). Pointers are created using the MATLAB function libpointer(DataType,Value) indicating ‘MALTAB array’ as DataType. Thanks to the listener stored into UserData(3) of the ROI object, the function zProfile is called again to dinalically refresh the z-axis profile any time the source matrix changes. The structure ‘pointers’ can eventually contain a third field ‘stimuli’ containing a pointer to the a vector that stores the timepoints of the administered stimuli.

## Isolation of points belonging to the ROI
This function is built for dealing with 4D source matrices of dimensions y*x*channels*z (z can be anything: time for a movie, depth for a 3D stack, frequency for power spectral densities, lag for cross-correlations and so on). So, this function checks the source matrix dimensions: if it has 3 dimensions (single-channel source) they are interpreted as y*x*z, and it is reshaped into a y*x*1*z matrix. Then, to retrieve the points of an image that belongs to a ROI, the function getSelectedPixels(image,roi) is called, where image is the image displayed in the ROI parent Axes and roi is the ROI object. A linear array of logicals is returned. This array applies to every frame and channel and so it is repeated nCh*nZ times, where nCh is the number of channels and nZ is the length of the z dimension. The function applies the so obtained logical array to the source matrix and reshapes the output to obtain an nSelPxls*channels*z matrix, where nSelPxls is the number of pixels selected by the ROI in a single frame. Finally, the mean is calculated over the selected-pixels dimension, resulting in the lines2plot matrix of dimensions nZ*nCh. Lines2plot contains the ordinates of the lines plotted in app.zProfileAxes. The ordinates are obtained from the relative pointer (see above). If a vector with stimulation timepoints is available, vertical lines are plotted in correspondence to them.

# Multi-measure
More details coming soon…

# How to design compatible Apps
There are few and simple requirements for making your App compatible with ROImanager. Here is a list of them:
1. The name of your app must end in ‘_App’ (e.g: if you want to name your app “myApp.mlapp”, name it “myApp_App.mlapp” instead). This is mandatory for allowing ROImanager to deal with “connected” apps.
2. All the axes of your app must have a unique tag.
3. If you want to use the z-axis profile or the multiframe measure features, you must associate the multidimensional stack you want to investigate (your movie or z-stack) to the image you plot. This is done by setting the UserData property of your image parent axes properly. More in detail, you have to build a structure called pointers with fields data and x, which must store a pointer to a 3D (x*y*z) or 4D (x*y*channel*z) matrix and a pointer to the time/space vector for the z dimension. An example follows: let’s say that app.myMovie is a 3D movie and app.t is its relative time vector; you want to plot a frame of the movie into the axes called app.myAxes and you want to be able to inspect the z-axes profile of a ROIs drawn in app.myAxes using ROImanager. Do the following:
  1. Create the pointers structure:
     pointers.data = libpointer('MATLAB array', app.myMovie);
    pointers.x = libpointer('MATLAB array',t);
  2. Plot the image:
     cla(app.myAxes)
    imagesc(app.myAxes,app.myMovie(:,:,myFrame))
  3. Set the axes UserData:
    app.myAxes.UserData = pointers;